File 1: AL-2016-2019.xlsx

Site:  Antarctica

James Ross Island

Long-term Research Plot

near J.G.Mendel Station

Co-ordinates:

S 63°48'01.07"; W 057°52'47.01"

Design of experiment:

Ecological Plant Physiology

Temperature measurements in OTCs and outside control plots

Instruments:

(1) Cu-Co thermocouples for air temperature

(2) Pt100 sensors for soul temperature

(3) Edgebox V12 (Environmental Monitoring Systems, Brno, Czech Republic)

Data column description:

A(column): day and time

B. 5cm under the soil surface (Control)	 [°C]

C. 10cm under the soil surface (Control) [°C]

D. 15cm under the soil surface (Control) [°C]

E. 30cm above the soil surface (Control) [°C]

F. 2cm_ above the soil surface in moss carpet (Control) [°C]

G. 2cm_ above the soil surface in moss carpet (Control)	[°C]

H. 5cm under the soil surface (in the open-top chamber)	[°C]

I. 10cm under the soil surface (in the open-top chamber) [°C]

J. 15cm under the soil surface (in the open-top chamber) [°C]

K. 30cm above the soil surface (in the open-top chamber) [°C]

L. 2cm above the soil surface in moss carpet (in the open-top chamber)	[°C]

M. 2cm above the soil surface in moss carpet (in the open-top chamber)	[°C]

File 2: IL-2016-2019-interlago.xlsx

Site:  Antarctica

James Ross Island

Locality "Interlago" (freshwater pond)

Co-ordinates:

S63°47'54.56" W57°48'31.29"

Design of experiment:

Ecological Plant Physiology

Temperature measurements in small pond, related to activity of biota

Instruments:

(1) Cu-Co thermocouples for air temperature

(2) Pt100 sensors for soul temperature

(3) Edgebox V8 (Environmental Monitoring Systems, Brno, Czech Republic)

Data column description:

A: Day and time

B. #1-Pt100[°C]- bottom surface	of the pond

C. #2-Pt100[°C]- 15cm above the bottom	of the pond

D. #3-Pt100[°C]- 30cm above the bottom of the pond

E. #4-CuCo[°C]-	surface temperature of the cyanobacterial mat - littoral

F. #6-CuCo[°C]-	surface temperature of the cyanobacterial mat - littoral

Credit statement

Data were measured by the team of Czech Scientists within the Czech Antarctic Programme

Data exploitation

Data should be refered to Czech Antarctic programe

For details contact: Miloš Barták (mbartak@sci.muni.cz)